Security Technology Deployment Office

# EDS Installation Guidelines

The purpose of this document is to establish general guidelines by which the STDO will determine the reasonable level of integration expenses that will be covered by the TSA.

- Expenses fully covered by the TSA

  - Acquisition and transportation of EDS units and related equipment (e.g. trace, etc.)

  - Direct costs to make the unit operational

    - Project management, including meetings and travel

    - Permitting

    - Professional architectural, engineering, and design fees

    - Structural reinforcement as required to support the EDS equipment

    - Rigging, electrical, HVAC

    - Operator training and certification

  - Construction necessary to isolate the EDS unit and provide privacy for secondary searches (note: costs associated with aesthetic preferences will not be covered)

- Other related expenses

  - Reasonable expectations for site clearance

  - Reasonable amount of in/out feed conveyor

  - Tie-in to the existing baggage handling systems to the extent allowable by the amount of feed conveyor for fully integrated systems

  - Reasonable construction necessary to provide an enclosure for environmental control as needed

- Installations requiring extensive remodeling, construction, or other critical items necessary for the installation of EDS units which exceed spending guidelines will be addressed on a case-by-case basis by the STDO Leader.

- Dual phase installations (e.g. start as a Stand Alone and later converted to an Integrated site) are not economically viable deployments and will not be initiated unless approved by the STDO Leader.

- Changes/modifications to the approved and funded Site Installation Plan (SIP) must be reviewed and accepted by the STDO Leader.