exercise

29A

Blood

Objectives

1.	To name the two major components of blood, and to state their average percentages in whole blood.

2.	To describe the composition and functional importance of plasma.

3.	To define formed elements and list the cell types composing them, cite their relative percentages, and describe their major functions.

4.	To identify red blood cells, basophils, eosinophils, monocytes, lymphocytes, and neutrophils when provided with a microscopic preparation or appropriate diagram.

5.	To provide the normal values for a total white blood cell count and a total red blood cell count, and to state the importance of these tests.

6.	To conduct the following blood test determinations in the laboratory, and to state their norms and the importance of each.

hematocrit
hemoglobin determination
clotting time
differential white blood cell count
ABO and Rh blood typing
plasma cholesterol concentration

7.	To discuss the reason for transfusion reactions resulting from the administration of mismatched blood.

8.	To define anemia, polycythemia, leukopenia, leukocytosis, and leukemia and to cite a possible reason for each condition.

Materials

General supply area:*

q	Disposable gloves

q	Safety glasses (student-provided)

q	Bucket or large beaker containing 10% household bleach solution for slide and glassware disposal

q	Spray bottles containing 10% bleach solution

q	Autoclave bag

q	Designated lancet (sharps) disposal container

q	Plasma (obtained from an animal hospital or prepared by centrifuging animal [for example, cattle or sheep] blood obtained from a biological supply house)

q	Test tubes and test tube racks

q	Wide-range pH paper

q	Stained smears of human blood from a biological supply house or, if desired by the instructor, heparinized animal blood obtained from a biological supply house or an animal hospital (for example, dog blood), or EDTA-treated red cells (reference cells†) with blood type labels obscured (available from Immunocor, Inc.)

q	Clean microscope slides

q	Glass stirring rods

q	Wright’s stain in a dropper bottle

q	Distilled water in a dropper bottle

q	Sterile lancet

q	Absorbent cotton balls

q	Alcohol swabs (wipes)

q	Paper towels

q	Compound microscope

q	Immersion oil

q	Three-dimensional models (if available) and charts of blood cells

q	Assorted slides of white blood count pathologies labeled “Unknown Sample ____”

q	Timer

Because many blood tests are to be conducted in this exercise, it is advisable to set up a number of appropriately labeled supply areas for the various tests, as designated below. Some needed supplies are located in the general supply area.

Note: Artificial blood prepared by Ward’s Natural Science can be used for differential counts, hematocrit, and blood typing.

Activity 4: Hematocrit

q	Heparinized capillary tubes

q	Microhematocrit centrifuge and reading gauge (if the reading gauge is not available, a millimeter ruler may be used)

q	Capillary tube sealer or modeling clay

Activity 5: Hemoglobin determination

q	Hemoglobinometer, hemolysis applicator and lens paper or Tallquist hemoglobin scale and test paper

Activity 6: Sedimentation rate

q	Landau Sed-rate pipettes with tubing and rack*

q	Wide-mouthed bottle of 5% sodium citrate

q	Mechanical suction device

q	Millimeter ruler

q	Pipette cleaning solutions: 10% household bleach, distilled water, 70% ethyl alcohol, acetone

Activity 7: Coagulation time

q	Capillary tubes (nonheparinized)

q	Fine triangular file

Activity 8: Blood typing

q	Blood typing sera (anti-A, anti-B, and anti-Rh [anti-D])

q	Rh typing box

q	Wax marking pencil

q	Toothpicks

q	Blood test cards or microscope slides

q	Medicine dropper

Activity 9: Demonstration

q	Microscopes set up with prepared slides demonstrating the following bone (or bone marrow) conditions: macrocytic hypochromic anemia, microcytic hypochromic anemia, sickle cell anemia, lymphocytic leukemia (chronic), and eosinophilia

Activity 10: Cholesterol measurement

q	Cholesterol test cards and color scale*Note to the Instructor: See directions for handling of soiled glassware and disposable items on page 313.

†The blood in these kits (each containing four blood cell types—A1, A2, B, and O—individually supplied in 10-ml vials) is used to calibrate cell counters and other automated clinical laboratory equipment. This blood has been carefully screened and can be safely used by students for blood typing and determining hematocrits. It is not usable for hemoglobin determinations or coagulation studies.

Text continues on next page

In this exercise you will study plasma and formed elements of blood and conduct various hematologic tests. These tests are useful diagnostic tools for the physician because blood composition (number and types of blood cells, and chemical composition) reflects the status of many body functions and malfunctions.

ALERT: Special precautions when handling blood. This exercise provides information on blood from several sources: human, animal, human treated, and artificial blood. The decision to use animal blood for testing or to have students test their own blood will be made by the instructor in accordance with the educational goals of the student group. For example, for students in the nursing or laboratory technician curricula, learning how to safely handle human blood or other human wastes is essential. Whenever blood is being handled, special attention must be paid to safety precautions. These precautions should be used regardless of the source of the blood. This will both teach good technique and ensure the safety of the students.

Follow exactly the safety precautions listed below.

1.	Wear safety gloves at all times. Discard appropriately.

2.	Wear safety glasses throughout the exercise.

3.	Handle only your own, freshly let (human) blood.

4.	Be sure you understand the instructions and have all supplies on hand before you begin any part of the exercise.

5.	Do not reuse supplies and equipment once they have been exposed to blood.

6.	Keep the lab area clean. Do not let anything that has come in contact with blood touch surfaces or other individuals in the lab. Pay attention to the location of any supplies and equipment that come into contact with blood.

7.	Dispose of lancets immediately after use in a designated disposal container. Do not put them down on the lab bench, even temporarily.

8.	Dispose of all used cotton balls, alcohol swabs, blotting paper, and so forth in autoclave bags and place all soiled glassware in containers of 10% bleach solution.

9.	Wipe down the lab bench with 10% bleach solution when you are finished.

Composition of Blood

Circulating blood is a rather viscous substance that varies from bright scarlet to a dull brick red, depending on the amount of oxygen it is carrying. The average volume of blood in the body is about 5–6 L in adult males and 4–5L in adult females.

Blood is classified as a type of connective tissue because it consists of a nonliving fluid matrix (the plasma) in which living cells (formed elements) are suspended. The fibers typical of a connective tissue matrix become visible in blood only when clotting occurs. They then appear as fibrin threads, which form the structural basis for clot formation.

More than 100 different substances are dissolved or suspended in plasma (Figure 29.1), which is over 90% water. These include nutrients, gases, hormones, various wastes and metabolites, many types of proteins, and electrolytes. The composition of plasma varies continuously as cells remove or add substances to the blood.

Three types of formed elements are present in blood (Table 29.1). Most numerous are erythrocytes, or red blood cells (RBCs), which are literally sacs of hemoglobin molecules that transport the bulk of the oxygen carried in the blood (and a small percentage of the carbon dioxide). Leukocytes, or white blood cells (WBCs), are part of the body’s nonspecific defenses and the immune system, and platelets function in hemostasis (blood clot formation). Formed elements normally constitute 45% of whole blood; plasma accounts for the remaining 55%.

Activity 1:

Determining the Physical Characteristics of Plasma

Go to the general supply area and carefully pour a few milliliters of plasma into a test tube. Also obtain some wide-range pH paper, and then return to your laboratory bench to make the following simple observations.

pH of Plasma

Test the pH of the plasma with wide-range pH paper. Record

the pH observed.

Color and Clarity of Plasma

Hold the test tube up to a source of natural light. Note and record its color and degree of transparency. Is it clear, translucent, or opaque?

Color

Degree of transparency

Consistency

Dip your finger and thumb into plasma and then press them firmly together for a few seconds. Gently pull them apart. How would you describe the consistency of plasma (slippery, watery, sticky, granular)? Record your observations.

n

Activity 2:

Examining the Formed Elements 
of Blood Microscopically

In this section, you will observe blood cells on an already prepared (purchased) blood slide or on a slide prepared from your own blood or blood provided by your instructor.

•	Those using the purchased blood slide are to obtain a slide and begin their observations at step 6.

•	Those testing blood provided by a biological supply source or an animal hospital are to obtain a tube of the supplied blood, disposable gloves, and the supplies listed in step 1, except for the lancets and alcohol swabs. After donning gloves, those students will go to step 3b to begin their observations.

•	If you are examining your own blood, you will perform all the steps described below except step 3b.

1.	Obtain two glass slides, a glass stirring rod, dropper bottles of Wright’s stain and distilled water, two or three lancets, cotton balls, and alcohol swabs. Bring this equipment to the laboratory bench. Clean the slides thoroughly and dry them.

2.	Open the alcohol swab packet and scrub your third or fourth finger with the swab. (Because the pricked finger may be a little sore later, it is better to prepare a finger on the hand used less often.) Circumduct your hand (swing it in a cone-shaped path) for 10 to 15 seconds. This will dry the alcohol and cause your fingers to become engorged with blood. Then, open the lancet packet and grasp the lancet by its blunt end. Quickly jab the pointed end into the prepared finger to produce a free flow of blood. It is not a good idea to squeeze or “milk” the finger, as this forces out tissue fluid as well as blood. If the blood is not flowing freely, another puncture should be made.

Under no circumstances is a lancet to be used for more than one puncture. Dispose of the lancets in the designated disposal container immediately after use.

3a.	With a cotton ball, wipe away the first drop of blood; then allow another large drop of blood to form. Touch the blood to one of the cleaned slides approximately 1.3 cm, or 1⁄2 inch, from the end. Then quickly (to prevent clotting) use the second slide to form a blood smear as shown in Figure 29.2. When properly prepared, the blood smear is uniformly thin. If the blood smear appears streaked, the blood probably began to clot or coagulate before the smear was made, and another slide should be prepared. Continue at step 4.

3b.	Dip a glass rod in the blood provided, and transfer a generous drop of blood to the end of a cleaned microscope slide. For the time being, lay the glass rod on a paper towel on the bench. Then, as described in step 3a and Figure 29.2, use the second slide to make your blood smear.

4.	Dry the slide by waving it in the air. When it is completely dry, it will look dull. Place it on a paper towel, and flood it with Wright’s stain. Count the number of drops of stain used. Allow the stain to remain on the slide for 3 to 4 minutes, and then flood the slide with an equal number of drops of distilled water. Allow the water and Wright’s stain mixture to remain on the slide for 4 or 5 minutes or until a metallic green film or scum is apparent on the fluid surface. Blow on the slide gently every minute or so to keep the water and stain mixed during this interval.

5.	Rinse the slide with a stream of distilled water. Then flood it with distilled water, and allow it to lie flat until the slide becomes translucent and takes on a pink cast. Then stand the slide on its long edge on the paper towel, and allow it to dry completely. Once the slide is dry, you can begin your observations.

6.	Obtain a microscope and scan the slide under low power to find the area where the blood smear is the thinnest. After scanning the slide in low power to find the areas with the largest numbers of nucleated WBCs, read the following descriptions of cell types, and find each one on Figure 29.1 and Table 29.1. (The formed elements are also shown in Plates 58 through 63 in the Histology Atlas.) Then, switch to the oil immersion lens, and observe the slide carefully to identify each cell type.

7.	Set your prepared slide aside for use in Activity 3.

Erythrocytes

Erythrocytes, or red blood cells, which average 7.5 µm in diameter, vary in color from a salmon red color to pale pink, depending on the effectiveness of the stain. They have a distinctive biconcave disk shape and appear paler in the center than at the edge (see Plate 59 in the Histology Atlas).

As you observe the slide, notice that the red blood cells are by far the most numerous blood cells seen in the field. Their number averages 4.5 million to 5.5 million cells per cubic millimeter of blood (for women and men, respectively).

Red blood cells differ from the other blood cells because they are anucleate when mature and circulating in the blood. As a result, they are unable to reproduce or repair damage and have a limited life span of 100 to 120 days, after which they begin to fragment and are destroyed in the spleen and other reticuloendothelial tissues of the body.

In various anemias, the red blood cells may appear pale (an indication of decreased hemoglobin content) or may be nucleated (an indication that the bone marrow is turning out cells prematurely). l

Leukocytes

Leukocytes, or white blood cells, are nucleated cells that are formed in the bone marrow from the same stem cells (hemocytoblast) as red blood cells. They are much less numerous than the red blood cells, averaging from 4,800 to 10,800 cells per cubic millimeter. Basically, white blood cells are protective, pathogen-destroying cells that are transported to all parts of the body in the blood or lymph. Important to their protective function is their ability to move in and out of blood vessels, a process called diapedesis, and to wander through body tissues by amoeboid motion to reach sites of inflammation or tissue destruction. They are classified into two major groups, depending on whether or not they contain conspicuous granules in their cytoplasm.

Granulocytes make up the first group. The granules in their cytoplasm stain differentially with Wright’s stain, and they have peculiarly lobed nuclei, which often consist of expanded nuclear regions connected by thin strands of nucleoplasm. There are three types of granulocytes:

Neutrophil: The most abundant of the white blood cells (40% to 70% of the leukocyte population); nucleus consists of 3 to 7 lobes and the pale lilac cytoplasm contains fine cytoplasmic granules, which are generally indistinguishable and take up both the acidic (red) and basic (blue) dyes (neutrophil 5 neutral loving); functions as an active phagocyte. The number of neutrophils increases exponentially during acute infections. (See Plates 58 and 59 in the Histology Atlas.)

Eosinophil: Represents 2% to 4% of the leukocyte population; nucleus is generally figure-8 or bilobed in shape; contains large cytoplasmic granules (elaborate lysosomes) that stain red-orange with the acid dyes in Wright’s stain (see Plate 62 in the Histology Atlas). Eosinophils are about the size of neutrophils and play a role in counterattacking parasitic worms. They also lessen allergy attacks by phagocytizing antigen-antibody complexes and inactivating some inflammatory chemicals.

Basophil: Least abundant leukocyte type representing less than 1% of the population; large U- or S-shaped nucleus with two or more indentations. Cytoplasm contains coarse, sparse granules that are stained deep purple by the basic dyes in Wright’s stain (see Plate 63 in the Histology Atlas). The granules contain several chemicals, including histamine, a vasodilator which is discharged on exposure to antigens and helps mediate the inflammatory response. Basophils are about the size of neutrophils.

The second group, agranulocytes, or agranular leukocytes, contains no visible cytoplasmic granules. Although found in the bloodstream, they are much more abundant in lymphoid tissues. Their nuclei tend to be closer to the norm, that is, spherical, oval, or kidney shaped. Specific characteristics of the two types of agranulocytes are listed below.

Lymphocyte: The smallest of the leukocytes, approximately the size of a red blood cell (see Plates 58 and 60 in the Histology Atlas). The nucleus stains dark blue to purple, is generally spherical or slightly indented, and accounts for most of the cell mass. Sparse cytoplasm appears as a thin blue rim around the nucleus. Concerned with immunologic responses in the body; one population, the B lymphocytes, oversees the production of antibodies that are released to blood. The second population, T lymphocytes, plays a regulatory role and destroys grafts, tumors, and virus-infected cells. Represents 25% or more of the WBC population.

Monocyte: The largest of the leukocytes; approximately twice the size of red blood cells (see Plate 61 in the Histology Atlas). Represents 3 to 8% of the leukocyte population. Dark blue nucleus is generally kidney-shaped; abundant cytoplasm stains gray-blue. Once in the tissues, monocytes convert to macrophages, active phagocytes (the “long-term cleanup team”), increasing dramatically in number during chronic infections such as tuberculosis.

Students are often asked to list the leukocytes in order from the most abundant to the least abundant. The following silly phrase may help you with this task: Never let monkeys eat bananas (neutrophils, lymphocytes, monocytes, eosinophils, basophils).

Platelets

Platelets are cell fragments of large multinucleate cells (megakaryocytes) formed in the bone marrow. They appear as darkly staining, irregularly shaped bodies interspersed among the blood cells (see Plate 58 in the Histology Atlas). The normal platelet count in blood ranges from 150,000 to 400,000 per cubic millimeter. Platelets are instrumental in the clotting process that occurs in plasma when blood vessels are ruptured.

After you have identified these cell types on your slide, observe charts and three-dimensional models of blood cells if these are available. Do not dispose of your slide, as it will be used later for the differential white blood cell count. n

Hematologic Tests

When someone enters a hospital as a patient, several hematologic tests are routinely done to determine general level of health as well as the presence of pathologic conditions. You will be conducting the most common of these tests in this exercise.

Materials such as cotton balls, lancets, and alcohol swabs are used in nearly all of the following diagnostic tests. These supplies are at the general supply area and should be properly disposed of (glassware to the bleach bucket, lancets in a designated disposal container, and disposable items to the autoclave bag) immediately after use.

Other necessary supplies and equipment are at specific supply areas marked according to the test with which they are used. Since nearly all of the tests require a finger stab, if you will be using your own blood it might be wise to quickly read through the tests to determine in which instances more than one preparation can be done from the same finger stab. For example, the hematocrit capillary tubes and sedimentation rate samples might be prepared at the same time. A little planning will save you the discomfort of a multiple-punctured finger.

An alternative to using blood obtained from the finger stab technique is using heparinized blood samples supplied by your instructor. The purpose of using heparinized tubes is to prevent the blood from clotting. Thus blood collected and stored in such tubes will be suitable for all tests except coagulation time testing.

Total White and Red Blood 
Cell Counts

A total WBC count or total RBC count determines the total number of that cell type per unit volume of blood. Total WBC and RBC counts are a routine part of any physical exam. Most clinical agencies use computers to conduct these counts. Since the hand counting technique typically done in college labs is rather outdated, total RBC and WBC counts will not be done here, but the importance of such counts (both normal and abnormal values) is briefly described below.

Total White Blood Cell Count Since white blood cells are an important part of the body’s defense system, it is essential to note any abnormalities in them.

Leukocytosis, an abnormally high WBC count, may indicate bacterial or viral infection, metabolic disease, hemorrhage, or poisoning by drugs or chemicals. A decrease in the white cell number below 4000/mm3 (leukopenia) may indicate typhoid fever, measles, infectious hepatitis or cirrhosis, tuberculosis, or excessive antibiotic or X-ray therapy. A person with leukopenia lacks the usual protective mechanisms. Leukemia, a malignant disorder of the lymphoid tissues characterized by uncontrolled proliferation of abnormal WBCs accompanied by a reduction in the number of RBCs and platelets, is detectable not only by a total WBC count but also by a differential WBC count. l

Total Red Blood Cell Count Since RBCs are absolutely necessary for oxygen transport, a doctor typically investigates any excessive change in their number immediately.

An increase in the number of RBCs (polycythemia) may result from bone marrow cancer or from living 
at high altitudes where less oxygen is available. A decrease in the number of RBCs results in anemia. (The term anemia simply indicates a decreased oxygen-carrying capacity of blood that may result from a decrease in RBC number or size or a decreased hemoglobin content of the RBCs.) A decrease in RBCs may result suddenly from hemorrhage or more gradually from conditions that destroy RBCs or hinder RBC 
production. l

Differential White Blood 
Cell Count

To make a differential white blood cell count, 100 WBCs are counted and classified according to type. Such a count is routine in a physical examination and in diagnosing illness, since any abnormality or significant elevation in percentages of WBC types may indicate a problem or the source of pathology.

Activity 3:

Conducting a Differential WBC Count

1.	Use the slide prepared for the identification of the blood cells in Activity 2. Begin at the edge of the smear and move the slide in a systematic manner on the microscope stage—either up and down or from side to side as indicated in 
Figure 29.3.

2.	Record each type of white blood cell you observe by making a count on the chart at the top of page 314 (for example,  5 7 cells) until you have observed and recorded a total of 100 WBCs. Using the following equation, compute the percentage of each WBC type counted, and record the percentages on the Hematologic Test Data Sheet on page 314.

# observed

Percent (%) 5 Total # counted (100) 3 100

3.	Select a slide marked “Unknown sample,” record the slide number, and use the count chart on p. 314 to conduct a differential count. Record the percentages on the data sheet at the bottom of p. 314.

How does the differential count from the unknown sample slide compare to a normal count?

Using the text and other references, try to determine the blood pathology on the unknown slide. Defend your answer.

4.	How does your differential white blood cell count correlate with the percentages given for each type on page 312?

n

Hematocrit

The hematocrit, or packed cell volume (PCV), is routinely determined when anemia is suspected. Centrifuging whole blood spins the formed elements to the bottom of the tube, with plasma forming the top layer (see Figure 29.1). Since the blood cell population is primarily RBCs, the PCV is generally considered equivalent to the RBC volume, and this is the only value reported. However, the relative percentage of WBCs can be differentiated, and both WBC and plasma volume will be reported here. Normal hematocrit values for the male and female, respectively, are 47.0 6 7 and 42.0 6 5.

Activity 4:

Determining the Hematocrit

The hematocrit is determined by the micromethod, so only a drop of blood is needed. If possible (and the centrifuge allows), all members of the class should prepare their capillary tubes at the same time so the centrifuge can be run only once.

1.	Obtain two heparinized capillary tubes, capillary tube sealer or modeling clay, a lancet, alcohol swabs, and some cotton balls.

2.	If you are using your own blood, cleanse a finger, and allow the blood to flow freely. Wipe away the first few drops and, holding the red-line-marked end of the capillary tube to the blood drop, allow the tube to fill at least three-fourths full by capillary action (Figure 29.4a). If the blood is not flowing freely, the end of the capillary tube will not be completely submerged in the blood during filling, air will enter, and you will have to prepare another sample.

If you are using instructor-provided blood, simply immerse the red-marked end of the capillary tube in the blood sample and fill it three-quarters full as just described.

3.	Plug the blood-containing end by pressing it into the capillary tube sealer or clay (Figure 29.4b). Prepare a second tube in the same manner.

4.	Place the prepared tubes opposite one another in the radial grooves of the microhematocrit centrifuge with the sealed ends abutting the rubber gasket at the centrifuge periphery (Figure 29.4c). This loading procedure balances the centrifuge and prevents blood from spraying everywhere by centrifugal force. Make a note of the numbers of the grooves your tubes are in. When all the tubes have been loaded, make sure the centrifuge is properly balanced, and secure the centrifuge cover. Turn the centrifuge on, and set the timer for 4 or 5 minutes.

5.	Determine the percentage of RBCs, WBCs, and plasma by using the microhematocrit reader. The RBCs are the bottom layer, the plasma is the top layer, and the WBCs are the buff-colored layer between the two. If the reader is not available, use a millimeter ruler to measure the length of the filled capillary tube occupied by each element, and compute its percentage by using the following formula:

Height of the column composed of the element (mm)

Height of the original column of whole blood (mm) 	   3 100

Record your calculations below and on the data sheet on page 314.

% RBC  % WBC % plasma

Usually WBCs constitute 1% of the total blood volume. How do your blood values compare to this figure and to the normal percentages for RBCs and plasma? (See page 314.)

As a rule, a hematocrit is considered a more accurate test than the total RBC count for determining the RBC composition of the blood. A hematocrit within the normal range generally indicates a normal RBC number, whereas an abnormally high or low hematocrit is cause for concern. n

Hemoglobin Concentration

As noted earlier, a person can be anemic even with a normal RBC count. Since hemoglobin (Hb) is the RBC protein responsible for oxygen transport, perhaps the most accurate way of measuring the oxygen-carrying capacity of the blood is to determine its hemoglobin content. Oxygen, which combines reversibly with the heme (iron-containing portion) of the hemoglobin molecule, is picked up by the blood cells in the lungs and unloaded in the tissues. Thus, the more hemoglobin molecules the RBCs contain, the more oxygen they will be able to transport. Normal blood contains 12 to 18 g of hemoglobin per 100 ml of blood. Hemoglobin content in men is slightly higher (13 to 18 g) than in women (12 to 16 g).

Activity 5:

Determining Hemoglobin Concentration

Several techniques have been developed to estimate the hemoglobin content of blood, ranging from the old, rather inaccurate Tallquist method to expensive colorimeters, which are precisely calibrated and yield highly accurate results. Directions for both the Tallquist method and a hemoglobinometer are provided here.

Tallquist Method

1.	Obtain a Tallquist hemoglobin scale, test paper, lancets, alcohol swabs, and cotton balls.

2.	Use instructor-provided blood or prepare the finger as previously described. (For best results, make sure the alcohol evaporates before puncturing your finger.) Place one good-sized drop of blood on the special absorbent paper provided with the color scale. The blood stain should be larger than the holes on the color scale.

3.	As soon as the blood has dried and loses its glossy appearance, match its color, under natural light, with the color standards by moving the specimen under the comparison scale so that the blood stain appears at all the various apertures. (The blood should not be allowed to dry to a brown color, as this will result in an inaccurate reading.) Because the colors on the scale represent 1% variations in hemoglobin content, it may be necessary to estimate the percentage if the color of your blood sample is intermediate between two color standards.

4.	On the data sheet, record your results as the percentage of hemoglobin concentration and as grams per 100 ml of blood.

Hemoglobinometer Determination

1.	Obtain a hemoglobinometer, hemolysis applicator, alcohol swab, and lens paper, and bring them to your bench. Test the hemoglobinometer light source to make sure it is working; if not, request new batteries before proceeding and test it again.

2.	Remove the blood chamber from the slot in the side of the hemoglobinometer and disassemble the blood chamber by separating the glass plates from the metal clip. Notice as you do this that the larger glass plate has an H-shaped depression cut into it that acts as a moat to hold the blood, whereas the smaller glass piece is flat and serves as a coverslip.

3.	Clean the glass plates with an alcohol swab, and then wipe them dry with lens paper. Hold the plates by their sides to prevent smearing during the wiping process.

4.	Reassemble the blood chamber (remember: larger glass piece on the bottom with the moat up), but leave the moat plate about halfway out to provide adequate exposed surface to charge it with blood.

5.	Obtain a drop of blood (from the provided sample or from your fingertip as before), and place it on the depressed area of the moat plate that is closest to you (Figure 29.5a).

6. 	Using the wooden hemolysis applicator, stir or agitate the blood to rupture (lyse) the RBCs (Figure 29.5b). This usually takes 35 to 45 seconds. Hemolysis is complete when the blood appears transparent rather than cloudy.

7.	Push the blood-containing glass plate all the way into the metal clip and then firmly insert the charged blood chamber back into the slot on the side of the instrument (Figure 29.5c).

8.	Hold the hemoglobinometer in your left hand with your left thumb resting on the light switch located on the underside of the instrument. Look into the eyepiece and notice that there is a green area divided into two halves (a split field).

9.	With the index finger of your right hand, slowly move the slide on the right side of the hemoglobinometer back and forth until the two halves of the green field match (Figure 29.5d).

10.	Note and record on the data sheet on page 314 the grams of Hb (hemoglobin)/100 ml of blood indicated on the uppermost scale by the index mark on the slide. Also record % Hb, indicated by one of the lower scales.

11.	Disassemble the blood chamber once again, and carefully place its parts (glass plates and clip) into a bleach-containing beaker.

Generally speaking, the relationship between the PCV and grams of hemoglobin per 100 ml of blood is 3:1—for example, a PVC of 35 with 12 g of Hb per 100 ml of blood is a ratio of 3:1. How do your values compare?

Record on the data sheet (page 314) the value obtained from your data. n

Sedimentation Rate

The speed at which red blood cells settle to the bottom of a vertical tube when allowed to stand is called the sedimentation rate. The normal rate for adults is 0 to 6 mm/hr (averaging 3 mm/hr) and for children is 0 to 8 mm/hr (averaging 4 mm/hr). Sedimentation of RBCs apparently proceeds in three stages: rouleaux formation, rapid settling, and final packing. Rouleaux formation (alignment of RBCs like a stack of pennies) does not occur with abnormally shaped red blood cells (as in sickle cell anemia); therefore, the sedimentation rate is decreased. The size and number of RBCs affect the packing phase. In anemia the sedimentation rate increases; in polycythemia the rate decreases. The sedimentation rate is greater than normal during menses and pregnancy, and very high sedimentation rates may indicate infectious conditions or tissue destruction occurring somewhere in the body. Although this test is nonspecific, it alerts the diagnostician to the need for further tests to pinpoint the site of pathology. The Landau micromethod, which uses just one drop of blood, is used here. An alternative method is the Westergren ESR method.

Activity 6:

Determining Sedimentation Rate

1.	Obtain lancets, cotton balls, alcohol swabs, and Landau Sed-rate pipette and tubing, the Landau rack, a wide-mouthed bottle of 5% sodium citrate, a mechanical suction device, and a millimeter ruler.

2.	Use the mechanical suction device to draw up the sodium citrate to the first (most distal) marking encircling the pipette. Prepare the finger for puncture, and produce a free flow of blood. Put the lancet in the designated disposal container.

3.	Wipe off the first drop, and then draw the blood into the pipette until the mixture reaches the second encircling line. Keep the pipette tip immersed in the blood to avoid air 
bubbles.

4.	Thoroughly mix the blood with the citrate (an anticoagulant) by drawing the mixture into the bulb and then forcing it back down into the pipette lumen. Repeat this mixing procedure six times, and then adjust the top level of the mixture as close to the zero marking as possible. If any air bubbles are introduced during the mixing process, discard the sample and begin again.

5.	Seal the tip of the pipette by holding it tightly against the tip of your index finger, and then carefully remove the suction device from the upper end of the pipette.

6.	Stand the pipette in an exactly vertical position on the Landau Sed-rack with its lower end resting on the base of the rack. Record the time, and allow it to stand for exactly1 hour.

Time

7.	After 1 hour, measure the number of millimeters of visible clear plasma (which indicates the amount of settling of the RBCs), and record this figure here and on the Hematologic Test Data Sheet on page 314.

Sedimentation rate  mm/hr

8.	Clean the pipette by using the mechanical suction device to draw up each of the cleaning solutions in succession—bleach, distilled water, alcohol, and acetone. Discharge the contents each time before drawing up the next solution. Place the cleaned pipette in the bleach-containing beaker at the general supply area, after first drawing bleach up into the pipette. Put disposable items in the autoclave bag. n

Bleeding Time

Normally a sharp prick of the finger or earlobe results in bleeding that lasts from 2 to 7 minutes (Ivy method) or 0 to 5minutes (Duke method), although other factors such as altitude affect the time. How long the bleeding lasts is referred to as bleeding time and tests the ability of platelets to stop bleeding in capillaries and small vessels. Absence of some clotting factors may affect bleeding time, but prolonged bleeding time is most often associated with deficient or abnormal platelets.

Coagulation Time

Blood clotting, or coagulation, is a protective mechanism that minimizes blood loss when blood vessels are ruptured. This process requires the interaction of many substances normally present in the plasma (clotting factors, or procoagulants) as well as some released by platelets and injured tissues. Basically hemostasis proceeds as follows (Figure 29.6a): The injured tissues and platelets release tissue factor (TF) and PF3 respectively, which trigger the clotting mechanism, or cascade. Tissue factor and PF3 interact with other blood protein clotting factors and calcium ions to form prothrombin activator, which in turn converts prothrombin (present in plasma) to thrombin. Thrombin then acts enzymatically to polymerize the soluble fibrinogen proteins (present in plasma) into insoluble fibrin, which forms a meshwork of strands that traps the RBCs and forms the basis of the clot (Figure 29.6b). Normally, blood removed from the body clots within 2 to 6 minutes.

Activity 7:

Determining Coagulation Time

1.	Obtain a nonheparinized capillary tube, a timer (or watch), a lancet, cotton balls, a triangular file, and alcohol swabs.

2.	Clean and prick the finger to produce a free flow of blood. Discard the lancet in the disposal container.

3.	Place one end of the capillary tube in the blood drop, and hold the opposite end at a lower level to collect the sample.

4.	Lay the capillary tube on a paper towel.

Record the time.

5.	At 30-second intervals, make a small nick on the tube close to one end with the triangular file, and then carefully break the tube. Slowly separate the ends to see if a gel-like thread of fibrin spans the gap. When this occurs, record below and on the data sheet on page 314 the time for coagulation to occur. Are your results within the normal time range?

6.	Put used supplies in the autoclave bag and broken capillary tubes into the sharps container. n

Blood Typing

Blood typing is a system of blood classification based on the presence of specific glycoproteins on the outer surface of the RBC plasma membrane. Such proteins are called antigens, or agglutinogens, and are genetically determined. In many cases, these antigens are accompanied by plasma proteins, antibodies or agglutinins, that react with RBCs bearing different antigens, causing them to be clumped, agglutinated, and eventually hemolyzed. It is because of this phenomenon that a person’s blood must be carefully typed before a whole blood or packed cell transfusion.

Several blood typing systems exist, based on the various possible antigens, but the factors routinely typed for are antigens of the ABO and Rh blood groups which are most commonly involved in transfusion reactions. Other blood factors, such as Kell, Lewis, M, and N, are not routinely typed for unless the individual will require multiple transfusions. The basis of the ABO typing is shown in Table 29.2.

Individuals whose red blood cells carry the Rh antigen are Rh positive (approximately 85% of the U.S. population); those lacking the antigen are Rh negative. Unlike ABO blood groups, neither the blood of the Rh-positive (Rh1) nor Rh-negative (Rh2) individuals carries preformed anti-Rh antibodies. This is understandable in the case of the Rh-positive individual. However, Rh-negative persons who receive transfusions of Rh-positive blood become sensitized by the Rh antigens of the donor RBCs, and their systems begin to produce anti-Rh antibodies. On subsequent exposures to Rh-positive blood, typical transfusion reactions occur, resulting in the clumping and hemolysis of the donor blood cells.

Although the blood of dogs and other mammals does react with some of the human agglutinins (present in the antisera), the reaction is not as pronounced and varies with the animal blood used. Hence, the most accurate and predictable blood typing results are obtained with human blood. The artificial blood kit does not use any body fluids and produces results similar to but not identical to results for human blood.

Activity 8:

Typing for ABO and Rh Blood Groups

Blood may be typed on glass slides or using blood test cards. Both methods are described next.

Typing Blood Using Glass Slides

1.	Obtain two clean microscope slides, a wax marking pencil, anti-A, anti-B, and anti-Rh typing sera, toothpicks, lancets, alcohol swabs, medicine dropper, and the Rh typing box.

2.	Divide slide 1 into halves with the wax marking pencil. Label the lower left-hand corner “anti-A” and the lower right-hand corner “anti-B.” Mark the bottom of slide 2 “anti-Rh.”

3.	Place one drop of anti-A serum on the left side of slide 1. Place one drop of anti-B serum on the right side of slide 1. Place one drop of anti-Rh serum in the center of slide 2.

4.	If you are using your own blood, cleanse your finger with an alcohol swab, pierce the finger with a lancet, and wipe away the first drop of blood. Obtain 3 drops of freely flowing blood, placing one drop on each side of slide 1 and a drop on slide 2. Immediately dispose of the lancet in a designated disposal container.

If using instructor-provided animal blood or EDTA-treated red cells, use a medicine dropper to place one drop of blood on each side of slide 1 and a drop of blood on slide 2.

5.  Quickly mix each blood-antiserum sample with a fresh toothpick. Then dispose of the toothpicks and used alcohol swab in the autoclave bag.

6.	Place slide 2 on the Rh typing box and rock gently back and forth. (A slightly higher temperature is required for precise Rh typing than for ABO typing.)

7.	After 2 minutes, observe all three blood samples for evidence of clumping. The agglutination that occurs in the positive test for the Rh factor is very fine and difficult to perceive; thus if there is any question, observe the slide under the microscope. Record your observations in the chart at left.

8.	Interpret your ABO results in light of the information in Figure 29.7. If clumping was observed on slide 2, you are Rh positive. If not, you are Rh negative.

9.	Record your blood type on the chart on the bottom of page 314.

10.	Put the used slides in the bleach-containing bucket at the general supply area; put disposable supplies in the autoclave bag.

Using Blood Typing Cards

1.	Obtain a blood typing card marked A, B, and Rh, dropper bottles of anti-A serum, anti-B serum, and anti-Rh serum, toothpicks, lancets, and alcohol swabs.

2.	Place a drop of anti-A serum in the spot marked anti-A, place a drop of anti-B serum on the spot marked anti-B, and place a drop of anti-Rh serum on the spot marked anti-Rh (or anti-D).

3.	Carefully add a drop of blood to each of the spots marked “Blood” on the card. If you are using your own blood, refer to direction number 4 in Activity 8: Typing Blood Using Glass Slides. Immediately discard the lancet in the designated disposal container.

4.	Using a new toothpick for each test, mix the blood sample with the antibody. Dispose of the toothpicks appropriately.

5.	Gently rock the card to allow the blood and antibodies to mix.

6.	After 2 minutes, observe the card for evidence of clumping. The Rh clumping is very fine and may be difficult to observe. Record your observations in the chart on the left. Use Figure 29.7 to interpret your results.

7.	Record your blood type on the chart at the bottom of page 314, and discard the card in an autoclave bag. n

Activity 9:

Observing Demonstration Slides

Before continuing on to the cholesterol determination, take the time to look at the slides of macrocytic hypochromic anemia, microcytic hypochromic anemia, sickle cell anemia, lymphocytic leukemia (chronic), and eosinophilia that have been put on demonstration by your instructor. Record your observations in the appropriate section of the Review Sheets for Exercise 29. You can refer to your notes, the text, and other references later to respond to questions about the blood pathologies represented on the slides. n

Cholesterol Concentration 
in Plasma

Atherosclerosis is the disease process in which the body’s blood vessels become increasingly occluded by plaques. Because the plaques narrow the arteries, they can contribute to hypertensive heart disease. They also serve as focal points for the formation of blood clots (thrombi), which may break away and block smaller vessels farther downstream in the circulatory pathway and cause heart attacks or strokes.

Ever since medical clinicians discovered that cholesterol is a major component of the smooth muscle plaques formed during atherosclerosis, it has had a bad press. Today, virtually no physical examination of an adult is considered complete until cholesterol levels are assessed along with other lifestyle risk factors. A normal value for plasma cholesterol in adults ranges from 130 to 200 mg per 100 ml plasma; you will use blood to make such a determination.

Although the total plasma cholesterol concentration is valuable information, it may be misleading, particularly if a person’s high-density lipoprotein (HDL) level is high and low-density lipoprotein (LDL) level is relatively low. Cholesterol, being water insoluble, is transported in the blood complexed to lipoproteins. In general, cholesterol bound into HDLs is destined to be degraded by the liver and then eliminated from the body, whereas that forming part of the LDLs is “traveling” to the body’s tissue cells. When LDL levels are excessive, cholesterol is deposited in the blood vessel walls; hence, LDLs are considered to carry the “bad” cholesterol.

Activity 10:

Measuring Plasma Cholesterol Concentration

1.	Go to the appropriate supply area, and obtain a cholesterol test card and color scale, lancet, and alcohol swab.

2.	Clean your fingertip with the alcohol swab, allow it to dry, then prick it with a lancet. Place a drop of blood on the test area of the card. Put the lancet in the designated disposal container.

3.	After 3 minutes, remove the blood sample strip from the card and discard in the autoclave bag.

4.	Analyze the underlying test spot, using the included color scale. Record the cholesterol level below and on the chart at the bottom of page 314.

Cholesterol level  mg/dl

5.	Before leaving the laboratory, use the spray bottle of bleach solution and saturate a paper towel to thoroughly wash down your laboratory bench. n##	Exercise 29A#	Exercise 29A*An alternative is the Westergren ESR method. See Instructor’s Guide for ordering information.	Blood#

Figure 29.1  The composition of blood.	#	Exercise 29A

Table 29.1	Summary of Formed Elements of the Blood				Duration of 
			Number of 	development
			cells/mm3 (ml) 	(D) and life 	
Cell type	Illustration	Description*	of blood	span (LS)	Function

Erythrocytes 
(red blood cells, 
RBCs)

Leukocytes 
(white blood cells, 
WBCs)

•	Granulocytes

Neutrophil


Eosinophil

Basophil

•	Agranulocytes

Lymphocyte


Monocyte

•	Platelets

*Appearance when stained with Wright’s stain.Biconcave, anucleate disc; salmon-colored; diameter 7–8 mm

Spherical, nucleated cells

Nucleus multilobed; inconspicuous cytoplasmic granules; diameter 10–12 mm

Nucleus bilobed; red cytoplasmic granules; diameter 10–14 mm

Nucleus lobed; large blue-purple cytoplasmic granules; diameter 8–10 mm

Nucleus spherical or indented; pale blue cytoplasm; diameter 5–17 mm

Nucleus U- or kidney-shaped; gray-blue cytoplasm; diameter 14–24 mm

Discoid cytoplasmic fragments containing granules; stain deep purple; diameter 2–4 mm4–6 million

4,800–10,800

3,000–7,000

100–400

20–50

1,500–3,000

100–700

150,000–400,000D: 5–7 days
LS: 100–120 days

D: 6–9 days
LS: 6 hours to a few days

D: 6–9 days
LS: 8–12 days

D: 3–7 days
LS: ? (a few hours to a few days)

D: days to weeks
LS: hours to years

D: 2–3 days
LS: months

D: 4–5 days
LS: 5–10 daysTransport oxygen and carbon dioxide

Phagocytize bacteria

Kill parasitic worms; destroy antigen-antibody complexes; inactivate some inflammatory chemicals of allergy

Release histamine and other mediators of inflammation; contain heparin, an anticoagulant

Mount immune response by direct cell attack or via antibodies

Phagocytosis; develop into macrophages in tissues

Seal small tears in blood vessels; instrumental in blood clotting			Blood#

Figure 29.2  Procedure for making a blood smear. (a) Place a drop of blood on slide 1 approximately 1⁄2 inch from one end. (b) Hold slide 2 at a 30° to 40° angle to slide 1 (it should touch the drop of blood) and allow blood to spread along entire bottom edge of angled slide. (c) Smoothly advance slide 2 to end of slide 1 (blood should run out before reaching the end of slide 1). Then lift slide 2 away from slide 1 and place it on a paper towel.#	Exercise 29A	Blood#

Figure 29.3  Alternative methods of moving 
the slide for a differential WBC count.		#	Exercise 29ACount of 100 WBCs

Cell type	Number observed

Student blood smear

Neutrophils

Eosinophils

Basophils

Lymphocytes

Monocytes		Hematologic Test Data Sheet

Differential WBC count:

Student 	Unknown 
WBC	blood smear	sample #

% neutrophils

% eosinophils

% basophils

% monocytes

% lymphocytes

Hematocrit (PCV):

RBC	 % of blood volume

WBC	 % of blood volume

Plasma	 % of blood Hemoglobin (Hb) content:

Hemoglobinometer (type: )

g/100 ml blood;  % Hb

Tallquist method ______ g/100 ml blood; _______ % Hb

Ratio (PCV to grams Hb per 100 ml blood):

Sedimentation rate  mm/hr

Coagulation time

Blood typing:

ABO group   Rh factor

Cholesterol concentration mg/dl blood																				}	not

generally reported			Blood#(a)(b)(c)

Figure 29.4  Steps in a hematocrit determination. (a) Load a heparinized capillary tube with blood. (b) Plug the blood-containing end of the tube with clay. (c) Place the tube in a microhematocrit centrifuge. (Centrifuge must be balanced.)			#	Exercise 29A	Blood#(a) A drop of blood is added to the moat plate of the blood chamber. The blood must flow freely.(b) The blood sample is hemolyzed with a wooden hemolysis applicator. Complete hemolysis requires 35 to 45 seconds.(c) The charged blood chamber is inserted into the slot on the side of the hemoglobinometer.(d) The colors of the green split screen are found by moving the slide with the right index finger. When the two colors match in density, the grams/100 ml and %Hb are read on the scale.

Figure 29.5  Hemoglobin determination using a hemoglobinometer.#	Exercise 29A	 	(b)

Figure 29.6  Events of hemostasis and blood clotting. (a) Simple schematic of events. Steps numbered 1–3 represent the major events of coagulation. (b) Photomicrograph of RBCs trapped in a fibrin mesh (30003).	Blood#

Table 29.2	ABO Blood Typing		Antigens present on	Antibodies present	% of U.S. population

ABO blood type	RBC membranes	in plasma	White	Black	Asian

A	A	Anti-B	40	27	28

B	B	Anti-A	11	20	27

AB	A and B	None	4	4	5

O	Neither	Anti-A and anti-B	45	49	40#	Exercise 29ABlood Typing

Observed	Not
Result	(1)	observed (2)

Presence of clump-
ing with anti-A

Presence of clump-
ing with anti-B

Presence of clump-
ing with anti-Rh

Figure 29.7  Blood typing of ABO blood types. When serum containing anti-A or anti-B antibodies (agglutinins) is added to a blood sample, agglutination will occur between the antibody and the corresponding antigen (agglutinogen A or B). As illustrated, agglutination occurs with both sera in blood group AB, with anti-B serum in blood group B, with anti-A serum in blood group A, and with neither serum in blood group O.	Blood#