## Sheet1
|  |  |  | METER PROVER REPORT | [5 empty] | FORM XXX.XX
Location: | [5 empty] | DATE |  | AMBIENT TEMP. |  | REPORT NO.
PROVER DATA | [5 empty] | PREVIOUS REPORT
BASE VOLUME AT 60°F AND "0" PSI (BPV) |  |  |  | SIZE (OD) | WALL (WT) | FLOW RATE (bph) |  | FACTOR |  | DATE
METER DATA
SERIAL NO. |  | METER NO. |  | PULSES/BBL (KF) |  | TEMP. COMP. | MANUFACTURER |  | SIZE | MODEL
|  | FLOW RATE |  |  |  | NON-RESET TOTALIZER
bbl/hr
RUN DATA
TEMPERATURE |  | PRESSURE |  | TOTAL PULSES |  |  | RUN NO. |  | CTS = | CORRECTION FOR TEMPERATURE ON STEEL
PROVER AVG. | METER | PROVER | METER
1
2
[7 empty] | 3 |  | CPS = | CORRECTION FOR PRESSURE ON STEEL
4
5
[7 empty] | 6 |  | CTL = | CORRECTION FOR THE TEMPERATURE OF THE LIQUID
7
8
9
[7 empty] | 10 |  | CPL = | CORRECTION FOR PRESSURE ON LIQUID
AVG.
LIQUID DATA
TYPE |  | OBSERVED API GRAVITY (APIobs) |  |  | CORRECTED GRAVITY (APIb) |  |  |  | BATCH/TENDER NO.
|  |  | AT | ° F |  |  | AT 60° F / 0 PSIG
PROVER FIELD CALCULATIONS
|  | COMBINED CORRECTION FACTOR For PROVER (CCFp) | [7 empty] | CORRECTED (GSVp) PROVER VOLUME
BASE PROVER VOLUME (BPV) X |  | [ CTSp X |  | CPSp X |  | CTLp X |  | CPLp ] =
METER FIELD CALCULATIONS | [5 empty] | COMB. CORR. FACT. For METER (CCFm)
INDICATED VOLUME OF METER (IVm) | [5 empty] | X [ CTLm ( NON TEMP- COMP. METER ONLY) |  | X CPLm ] = |  | INDICATED STANDARD METER VOLUME (ISVm)
AVERAGE PULSES [N(avg)] ÷ |  | PULSES PER Bbl (NKF) = |  | INDICATED METER VOLUME (IVm)
CORRECTED PROVER VOLUME (GSVp) ÷ |  | INDICATED STANDARD METER VOLUME (ISVm) |  | METER FACTOR (MF) |  |  | CPLm LIQUID CORR. FOR PRESS. AT METERING COND. |  |  | COMPOSITE FACTOR (CMF) FOR CONSTANT PRESS. APPL.
[6 empty] | X |  |  | =
□ METER FACTOR IS WITHIN 0.25% OF THE PREVIOUS FACTOR.
REMARKS, REPAIRS, ADJUSTMENTS, ETC.
SIGNATURE |  |  |  |  | DATE |  | COMPANY REPRESENTED